| Address | 16 STAAL STREET, KYA SAND, RANDBURG, SOUTH AFRICA. P.O. BOX 2051, Northriding, 2162 |
| --- | --- |
| Phone | +27 11 462 4253 |
| Fax | +27 11 462 4310 |
| web | www.rectifier.co.za |
| E-mail | ca@rectifier.co.za |

| AC load distribution DPN (Choose size and amount of load breaker) / SCHNEIDER make for APS 1500B-230 19IN |  | Qty |
| --- | --- | --- |
| ☐ | Load breaker IDPN 4 A |  |
| ☐ | Load breaker IDPN 6 A |  |
| ☐ | Load breaker IDPN 10 A |  |
| ☐ | Load breaker IDPN 16 A |  |
| ☐ | Load breaker IDPN 20 A |  |
| ☐ | Load breaker IDPN 25 A |  |
| ☐ | Load breaker IDPN 32 A |  |
| ☐ | Load breaker IDPN 40 A |  |
| AC load distribution RCD (Choose size and amount of load breaker) / SCHNEIDER make |  |  |
| ☒ Load breaker RCD IDPNN 4 A |  |  |
| ☐ Load breaker RCD IDPNN 6 A |  |  |
| ☒ Load breaker RCD IDPNN 10 A |  |  |
| ☒ Load breaker RCD IDPNN 16 A |  |  |
| ☒ Load breaker RCD IDPNN 20 A |  |  |
| ☒ Load breaker RCD IDPNN 25 A |  |  |
| ☒ Load breaker RCD IDPNN 32 A |  |  |
| ☒ Load breaker RCD IDPNN 40 A |  |  |
| AC Distribution Alarm (Auxiliary switches) |  |  |
| ☐ | Distribution alarm DPN (9pcs of Aux. Switches) |  |
| ☐ | Distribution alarm RCD (5pcs of Aux. Switches) |  |
| Manual Bypass |  |  |
| ☒ | Manual bypass 63A for APS 1500B-230-4 |  |
| ☐ | Manual bypass 100A for APS 1500B-230-8 |  |
| Packing |  |  |
| Packing material (Only needed if not installed in a wall mounting box, supporting cabinet or outdoor cabinet at Delta production) |  |  |