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	[bookmark: _GoBack]AC load distribution DPN (Choose size and amount of load breaker) / SCHNEIDER make for APS 750B-230 19IN
	Qty

	☐	Load breaker IDPN 4 A
	

	☐	Load breaker IDPN 6 A
	

	☐	Load breaker IDPN 10 A
	

	☐	Load breaker IDPN 16 A
	

	☐	Load breaker IDPN 20 A
	

	☐	Load breaker IDPN 25 A
	

	☐	Load breaker IDPN 32 A
	

	AC load distribution RCD (Choose size and amount of load breaker) / SCHNEIDER make
	

	☒   Load breaker RCD IDPNN 4 A
	

	☐ Load breaker RCD IDPNN 6 A
	

	☒ Load breaker RCD IDPNN 10 A
	

	☒ Load breaker RCD IDPNN 16 A
	

	☒ Load breaker RCD IDPNN 20 A
	

	☒ Load breaker RCD IDPNN 25 A
	

	☒ Load breaker RCD IDPNN 32 A
	

	Sliding mounting rails (for easy installation)
	

	☐	Distribution alarm DPN (9pcs of Aux. Switches)
	

	☐	Distribution alarm RCD (5pcs of Aux. Switches)
	

	Manual Bypass
	
	

	☒	Manual bypass for APS 750B-230-4
	

	☐	Manual bypass for APS 750B-230-8
	

	Packing
	
	

	Packing material (Only needed if not installed in a wall mounting box, supporting cabinet or outdoor cabinet at Delta production)


[image: ]
[image: ]	                                                                                                                   Directors: E.J. Van Der Westhuyzen

image1.png
W@ Current Automation
—




image2.png
REG: 2015/090551/07 VAT: 4800148308




image3.png
REG: 2015/090551/07 VAT: 4800148308




