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	[bookmark: _GoBack]DC load distribution (Choose size and amount of load breaker) / 
CBI make  | for DPS 2900B-48-3
	Qty

	☐	Load breaker 2 A
	

	☐	Load breaker 4 A
	

	☐	Load breaker 6 A
	

	☐	Load breaker 10 A
	

	☐	Load breaker 16 A
	

	☐	Load breaker 20 A
	

	☐	Load breaker 25 A
	

	☐	Load breaker 30 A
	

	☐	Load breaker 40 A
	

	☐	Load breaker 50 A
	

	☒	Load breaker 63 A
	

	Battery breakers )Choose size and amount of breaker)  / NADER make
	

	☐                 Battery breaker 80A  
	

	☐               Battery breaker 100A
	

	☐               Battery breaker 125A
	

	Partial load disconnection (incl. driver board)
	

	☐   PLD 150A 
	

	Battery temp sensor 
	
	

	☐	Battery temp sensor 3m
	

	☐	Battery temp sensor 5m
	

	☐	Battery temp sensor 5m
	

	☐	Battery temp sensor 10m
	

	☐	Adapter for 2 temp sensors
	

	Battery cables
	
	

	☐	Battery cable set 1.7m 16mm2 M8-SLEEVE
	

	☒	Battery cable set 1.7m 25mm2 M8-SLEEVE
	

	☒	Battery cable set 1.7m 35mm2 M8-SLEEVE
	

	Packing
	
	

	Packing material (Only needed if not installed in a wall mounting box, supporting cabinet or outdoor cabinet at Delta production)
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