| Address | 16 STAAL STREET, KYA SAND, RANDBURG, SOUTH AFRICA. P.O. BOX 2051, Northriding, 2162 |
| --- | --- |
| Phone | +27 11 462 4253 |
| Fax | +27 11 462 4310 |
| web | www.rectifier.co.za |
| E-mail | ca@rectifier.co.za |

| DC load distribution (Choose size and amount of load breaker) / CBI make ¦ for DPS 850B-48-3 |  | Qty |
| --- | --- | --- |
| ☐ | Load breaker 2 A |  |
| ☐ | Load breaker 4 A |  |
| ☐ | Load breaker 6 A |  |
| ☐ | Load breaker 10 A |  |
| ☐ | Load breaker 16 A |  |
| ☐ | Load breaker 20 A |  |
| ☐ | Load breaker 25 A |  |
| ☐ | Load breaker 30 A |  |
| System roof (I case of using the DC system inside an optional Wall mounting box or Supporting cabinet maybe not needed) |  |  |
| ☐ | IP20 cover plates |  |
| Sliding mounting rails (for easy installation) |  |  |
| ☐ | Sliding rails for CellD40 power system |  |
| AC input cables |  |  |
| ☐ | Single phase CABLE 2m (one cable end open) |  |
| ☐ | Single phase CABLE 2m (with SCHUKO connector) |  |
| External alarm D-sub |  |  |
| ☐ | External alarms are connected from D-sub connector to PSC3 controller. D-sub connector is located on back side of the system. |  |
| Battery temp sensor |  |  |
| ☐ | Battery temp sensor 1,5m |  |
| ☐ | Battery temp sensor 3m |  |
| ☐ | Battery temp sensor 5m |  |
| ☐ | Battery temp sensor 10m |  |
| ☐ | Adapter for 2 temp sensors |  |
| Battery cables |  |  |
| ☐ | Battery cable set 1.5m 10mm2 with cable lugs (M6) |  |
| ☒ | Battery cable set 3m 10mm2 with cable lugs (M6) |  |
| Packing |  |  |
| Packing material (Only needed if not installed in a wall mounting box, supporting cabinet or outdoor cabinet at Delta production) |  |  |